Demolition contractors take pride in their work and we really need their help protecting our natural resources. Demolition doesn’t touch the Earth gently. Standard techniques traditionally use heavy equipment, creating high impacts unacceptable in sensitive areas. Deconstruction incorporates controlled, low impact techniques and minimizes high impact activity.

Deconstruction avoids direct impacts in areas considered too sensitive for heavy equipment demolition, such as near eroding coastal banks or habitats containing endangered species of plants or animals. Deconstruction requires a reverse engineering assessment to determine the feasibility of sectional removal. Deconstruction focuses on using a crane to remove segments. This technique minimizes direct and indirect debris impacts and minimizes equipment time on site.

Controlling site access minimizes impact. Designate a clearly marked access corridor to the site for all activity. Native vegetation in the corridor area is a resource that can be removed and replanted. This can significantly reduce job completion re-vegetation costs.

Carefully remove the vegetation using equipment with a smooth blade. Soil should be removed to a depth equal to the branch height of small bushes. Heel in this vegetation to protect the roots.

Removing household materials (liquids; furniture; appliances; carpets; paints and fuels) can minimize unexpected clean up. Temporary structural bracing may be required. Wood bracing can be delivered by crane boom. No additional heavy equipment is necessary on the site. The crane is used to remove the structure, as a whole or in engineered components. The components are moved to a less sensitive part of the same site or an adjacent site or off site on flat beds, for demolition or reuse.

As soon as the building is gone, foundations and pilings can be removed. Walls may need ball demolition, with bucket removal for debris. In difficult cases, the crane may need to lift a small excavator in to assist in piling removal to avoid stressing the crane boom.

The key to successful de-construction is the careful planning and integration of protocols.

Following job completion, elevations should be reconnected with compatible sand or soil mix and re-vegetated with native vegetation. Re-using heeled in native vegetation maintains the indigenous pH, nutrient levels, microorganism and micro invertebrate communities the plants require.

De-construction can also reduce environmental impacts by planned re-allocation of de-constructed materials. Significant cost reductions are possible through waste stream reduction. Primary recycling designates materials for re-construction or fuel source. A secondary recycling tub grinds demolition materials as a component for mulching groundcover. Concrete, bricks and asphalt can be crushed for re-use in roadways, walkways and drainage projects.

Conservation Commissions will require a written protocol, including: specific techniques; sequencing; Erosion control plan indicating location, design, materials, installation and maintenance; Restoration of grade elevations with compatible particle size and mix; Re-vegetation plan establishing matching soil horizon profiles; Use of indigenous compost & mulch; Planting and or seeding with indigenous vegetation; Designated areas for access corridor; limit of work for demolition site; worker parking; worker toilet; equipment storage and demolition materials storage.

### All Safe Harbor publications may be copied, circulated, and shared for educational purposes only:

### You are free to Share — to copy, distribute and transmit the work under the following conditions:

- Attribution — You must attribute the work but not in any way that suggests that Safe Harbor endorses you or your use of the work. Attribute this work:

- Noncommercial — You may not use this work for commercial purposes.

No Derivative Works — You may not alter, transform, or build upon this work.

Safe Harbor Educational Publications are self-funded. Contact us if you would like to support our efforts or have questions regarding our environmental research projects. 508-237-3724, gordonpeabody@gmail.com